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Aqua Multisafe collection is part of the Wetroom concept (Aquasens) and can be combined with the wall covering Aquarelle HFS and with the wetroom accessories.
[bookmark: _Hlk165031868]Aqua Multisafe belongs to the norm ISO 10582, Heterogeneous vinyl compact floor covering in roll format, available in 2m width. It has a 2mm total thickness with a wear layer of 0.55mm. Its fire resistance is rated Bfl-s1 under the norm EN13501-1. The collection contains 10 references with designs certified by Dementia Service Development Centre (DSDC). 
The product has an optimized embossing to ensure the best barefoot anti-slip resistance (rated class C under the norm DIN EN 16165 NB 1) and an excellent shod anti-slip resistance (rated R10 classification under the norm DIN EN 16165 NB2). 
It has to be fully glued and hot welded for optimal hygiene and perfect watertightness, offering a seam strength > 240N/50mm under the EN 16906 standard. It is resistant to stains and chemicals. Bacteria resistance is measured as “does not promote growth” following the requirement of ISO 846 part C.
[bookmark: _Hlk165032043]The product formulation is free of phthalates and biocides. It contains 33% recycled material. The installation offcuts could be recyclable and collected through the ReStart® take-back recycling program (contact your Tarkett sales representative). The product benefits from an Environmental Product Declaration (EPD). 
The TVOC and formaldehyde emissions will be below 10 μg/m³ based on the EN 16516 standard. Aqua Multisafe is produced in France & comes with a 10 Year Warranty.


Documents available on our website
Technical Data sheet / Green building card / lnstallation Guide / Maintenance Guide / EPD / DOP / Warranty

Plant certifications
ISO 14001:2015 - Environmental management systems
ISO 50001:2018 - Energy management systems
ISO 9001:2015 - Quality management systems
ISO 45001:2018 - Occupational health and safety management systems


 Commercial launch date October 2024. Information can be modified (Edition 09/2024).
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